## IAA105 Shunt Calculation
FUTEK |  |  | *Note: All input parameters are accessible through SENSIT® Lite.
IAA105 Shunt Settings
Enter sensor bridge resistance |  | Ohms
Choose shunt amount |  | Ohms
Choose span range used |  | VDC
Enter span digital control step count value |  | Step count value
Choose gain amount used |  | IAA105 Multiplyer
Resulting voltage change due to shunt | #N/A | VDC